PSU Lighting FAQ

- How many lights are there on campus?

There are approximately 2700 walkway, parking lot and roadway lights on the University Park campus.

- How much does it cost to illuminate campus?

Approximately $2500 per month, or about $30,000 per year.

- How do you determine how much lighting is enough?

We evaluate lighting qualitatively (now good), not quantitatively (how much).  We do not generally measure illumination in foot-candles, except in planning new projects.  We illuminate to the level that a person can see if someone is approaching them.

- How are the various lights on campus identified?

Each street and walkway light is identified by a unique series of numbers and letters that are typically on a small white rectangle located on the light pole.  If you wish to report a light that is not working, it is important that you note this series of numbers and letters and the general location of the fixture (i.e., light 24CO, on the south side of Eisenhower Parking Deck). Lights attached to buildings are identified with a number.

- Why do some lights on campus appear "reddish" while others appear "white"?

The "reddish" light is given off by high pressure sodium (HPS) lamps.  These lamps have been used for many years throughout campus because of their long life span and lower operating cost.  The University is currently in the process of replacing HPS lamps with medal halide (MH) lamps.  Metal halide provides a much whiter light, which for equal wattage, looks brighter than HPS light and makes colors look truer.  The trade-off with MH lamps is that they do not last as long and are slightly more expensive to operate than HPS lamps.

- How do I report lights out or areas where I am concerned about the lighting?

To report walkway, parking lot or street lights out, contact the OPP Work Control Center at 865-4731.  This phone number is staffed 24 hours a day, 7 days a week.

To report lights out that are part of a residence hall or dining commons, call 865-7543 during normal working hours, or email:  AskResLife@psu.edu .
To report areas of concern regarding lighting, send an email to:  lighting@psu.edu

9/2014